## Slide 1
Percentage of Production Greater than y-value (%)
Production (MWh/H)
Production at time (t+1)
Production at time (t)
F +(gt)
F -(gt)
gt

## Slide 2
Production at time (t)
Production at time (t+1)
Percentage of Production Greater than y-value (%)
Production (MWh/H)

## Slide 3
Technology Simulation
Market Simulation
Cost
Revenue
Risk
Market Constraints
Technology Constraints
Generation Capacity by Fuel Type
Consumption profile
Price (Determinate part)
Price (Stochastic part)
Trading volume
Flexible/ Inflexible Capacity
System size (Number of EVs)
System State
Objective Function
Constraints
Optimization

## Slide 4
Market Simulation
Price Signal
Generation Time-Series by Fuel Type
Consumption Time-Series
Volume Signal
Revenue
Market Constraints
Cost
Technology Constraints
Technology Simulation
System State
Optimization
Objective Function
Constraints
Optimal operating plan
Revenue, Cost
System Size (Number of EVs)
Historical price-volume data
Mode Switch:
Actual / Simulated
Parameterization
Technology-based modules
Market-based modules
Optimization
Legend

## Slide 5
Flexibility Analysis on Generation Fleet
Generation Time-Series by Fuel Type
Consumption Time-Series
Historical price data
Time series of inflexible capacity
Time series of flexible capacity
Time series of peak capacity
Merit-order model
Deviations of actual price to simulated merit-order price
Simulated price signals
SARIMA model
Supply
Residual load
Time series of non-dispatchable capacity (RES)
+
-
-
Day-ahead
market data
Day-ahead/ intra-day/ balancing/ real-time market data

## Slide 6
Scenario generator
Time series of inflexible capacity
Time series of flexible capacity
Time series of peak capacity
Merit-order model
Simulated price – determinant trend
SARIMA model
Time series of consumption
Simulated price – stochastic movement
Monte-Carlo Simulation
Final simulated price
Supply
Residual load
Time series of RES capacity
+
+
-